## 工作表1
6001 | 12C(d,p) | 10 | proton wite | white spectrum
6002 | 12C(d,d) | 10 | (d,d') | initial calibration |  | y=4.72*X+2162
6003 | Au(d,d) | 10 | (d,d') | Sieve Slit
6004 | 12C(d,p) | 10 | proton wite | Sieve Slit | Here I see the Modified by Tamii
6005 | 12C(d,p) | 10 | (d,d') | Sieve Slit | no Tamii
6006 | 12C(d,p) | 10 | (d,d') | Sieve Slit | no Tamii
6007 | 12C(d,p) | 10 |  | check beam resolution |  | same setting with 6004 |  | 13C(g.s.)38.2keV
6008 | faint beam | 0 |  | get dispersion matching |  |  |  | fb:7.5keV
6009 | 12C(d,p) | 0 |  | add the Al absorber and find the event from the target
6010 | blank | 0 | proton wite | check if the event in 6009 is from the target
6011 | 12C(d,p) | 0 | proton wite | change the GR FIELD and want to see 13C states(4MeV in center)
6012 | 12C(d,p) | 0.5 | proton wite | change the GR ANGLE to reduce the background that we saw in 6011 |  |  |  |  | main peak: 31keV (run6012_ex.hb)
6013 | 12C(d,p) | 0.3 | proton wite | change the GR ANGLE to reduce the background that we saw in 6011
6014 | 12C(d,p) | 0.5 | proton wite | change the GR FIELD to see 13C states |  |  |  | run6014_ex.hb
6015 | 12C(d,p) | 0.5 |  | change the GR FIELD to see 13C states
6016 | 12C(d,p) | 0.5 |  | change the GR FIELD to see 13C states |  |  | get the reference value |  | some state is in the center
CHANGE THE TARGET LADDER
6017 | 25Mg(d,p) | 0.5 |  | see nothing due to the VDC problem
6018 | 25Mg(d,p) | 0.5 |  | GR#3 | see peaks
6019 | 25Mg(d,p) | 0.5 |  | GR#1 | see peaks
6020 | 25Mg(d,p) | 0.5 | proton wite | GR#2 | see peaks
6021 | 25Mg(d,p) | 0.5 |  | GR#2 | see peaks
6022 | 25Mg(d,p) | 0.5 |  | GR#2 | trash | see nothing due to the VDC problem
6023 | 25Mg(d,p) | 0.5 |  | GR#3 | GR trigger changed a lot
SET NEW GR
6024 | 25Mg(d,p) | 0.5 |  | NGR#1 | see pg120 for the new GR settings
6025 | 25Mg(d,p) | 0.5 |  |  | trash | see nothing due to the VDC problem
6026 | 25Mg(d,p) | 0.5 |  | ---- | check the resolution |  | 36keV | 10mins run
6027 | 25Mg(d,p) | 0.5 |  | NGR#1 | resolution was improved for this run |  |  | 20.6keV for 12C(d,p)13C |  |  | comparing with #6024
6028 | 24Mg(d,p) | 0.5 |  | NGR#1
6029 | 12C(d,p) | 0.5 |  | NGR#2 | Resolution check??? |  |  | 10mins
6030 | MYLAR | 0.5 |  | NGR#2 |  |  |  | short run |  |  |  | dispersive
6031 | 24Mg(d,p) | 0.5 |  | NGR#2 |  |  |  | 15 mins
6032 | 25Mg(d,p) | 0.5 |  | NGR#2 |  |  |  | 40mins
6033 | 12C(d,p) | 0.5 |  | NGR#3 | Resolution check??? |  |  | 10 mins run
6034 | MYLAR | 0.5 |  | NGR#3
6035 | 24Mg(d,p) | 0.5 |  | NGR#3 | [7 empty] | dispersive
6036 | 25Mg(d,p) | 0.5 |  | NGR#3
6037 | 25Mg(d,p) | 0.5 |  | NGR#3 | 34.77keV |  | notice if the calibration changed |  |  |  | kev/mm = 5.15 开玩笑！
After run6037 we need the change the GR ANGLE from 0.5 to 5. But Didn'tsecure the EXP HALL. After restore everything we check the resolution(13Cg.s. 35.7keV ) and compared with run6033(35.77keV).
6038 | 12C(d,p) | 5 |  | NGR#3 | Resolution check 35.764keV
6039 | MYLAR | 5 |  | NGR#3
6040 | 24Mg(d,p) | 5 |  | NGR#3 |  | 24keV
6041 | MYLAR | 5 |  | NGR#3 | start this run since 6039 has no enough counts |  |  | 41keV
6042 | 12C(d,p) | 5 |  | NGR#3 | another run for 6038 to get more counts
6043 | 25Mg(d,p) | 5 |  | NGR#3 | DAQ problem during this run
6044 | 25Mg(d,p) | 5 |  | NGR#3 | continue run for 6043
6045 | 24Mg(d,p) | 5 |  | NGR#3 | another run for 6040 to get more counts
6046 | 24Mg(d,p) | 10 |  |  | stop this run so as to define narrow gate
6047 | 24Mg(d,p) | 10 |  |  | stop this run to define PID gate
6048 | 24Mg(d,p) | 10 |  | NGR#3 | 29.2keV | online analyzer might stop working. Checked by run 6053
6049 | MYLAR | 10 |  |  | radiation safety problem
6050 | 12C(d,p) | 10 |  |  | online analyzer problem
From 6051 the target was rotated
6051 | 12C(d,p) | 10 |  | NGR#3 | check the target rotation effect |  | 40keV(44keV w/o rotation)
6052 | MYLAR | 10 |  | NGR#3
6053 | 24Mg(d,p) | 10 |  | NGR#3 | check this run with run6048 to see if they are look the same |  |  |  | 29keV
6054 | 25Mg(d,p) | 10 |  | NGR#3 | [5 empty] | dispersive
6055 | 25Mg(d,p) | 10 |  | NGR#3 | 32keV
6056 | 24Mg(d,p) | 25 |  | NGR#3 | 42 keV | should improve this resolution |  |  |  | disperive |  | short run 12mins
After #6056, setup changed: remove the Al absorber. GR ANGLE to 0.5deg. 25Mg(d,d) [achromatic, faint beam]]and compare it with p57(12C(d,d), achromatic resolution 22keV)
Improve the 25Mg(d,d) from 22keV to 16.2keV
6057 | 24Mg(d,p) | 0.5 |  | NGR#1 | 30keV | achromatic |  |  | These are short runs to check the resolution in achromatic mode
6058 | 24Mg(d,p) | 0.5 |  | NGR#2 | 31keV | achromatic
6059 | 24Mg(d,p) | 0.5 |  | NGR#3 | 26keV | achromatic
6060 | 25Mg(d,p) | 0.5 |  | NGR#3 |  | achromatic
6061 | 24Mg(d,p) | 25 |  | NGR#3 | 52keV | worse resolution in achromatic mode | [5 empty] | short run 12mins
Got worse resolution on achromactic mode. So we need to check the angle dependence in the following runs
6062 | 24Mg(d,p) | 25 |  | NGR#3 | 46keV | W/ 2mm slits |  | achromatic |  | (compare with 6061)short runs to check if the slit can improve the resolution
6063 | 24Mg(d,p) | 15 |  | NGR#3 | 39keV |  |  | achromatic
Before run6064 the Al sheet was set again
go back the dispersive matching @15deg to get better resolution
resolution was improved from 39keV to 25keV
6064 | 24Mg(d,p) | 15 |  | NGR#3 | 25keV
6065 | 12C(d,p) | 15 |  | NGR#3 | 35.8keV
6066 | MYLAR | 15 |  | NGR#3 | 35.8keV
6067 | 25Mg(d,p) | 15 |  | NGR#3 | 30.6keV
6068 | 25Mg(d,p) | 15 |  | NGR#3 | 30.6keV | continue run |  |  |  |  | dispersive
6069 | 24Mg(d,p) | 25 |  | NGR#3 | need to compare with run6056 which gave us 42keV | [5 empty] | dispersive
6070 | MYLAR | 25 |  | NGR#3 | calibration changed: 4.61keV/mm | [5 empty] | dispersive
6071 | 12C(d,p) | 25 |  | NGR#3 | [6 empty] | dispersive
6072
6073 | 25Mg(d,p) | 25 |  | NGR#3 | [6 empty] | dispersive
6074 | 24Mg(d,p) | 20 |  | NGR#3 | 27keV | [5 empty] | dispersive
6075 | 12C(d,p) | 20 |  | NGR#3
6076 | 25Mg(d,p) | 20 |  |  | online analyzer problem
6077 | 25Mg(d,p) | 20 |  |  | online analyzer problem
6078 |  |  |  |  | online analyzer problem
6079 | 25Mg(d,p) | 20 |  | NGR#3 | 30.2keV
improve the dispersive matching for 30deg
6080 | 24Mg(d,p) | 30 |  | NGR#3 | 29.1keV
6081 | 12C(d,d) | 30 | proton wite | NGR#3 | 46.8keV
6082 | 25Mg(d,p) | 30 |  |  |  | online analyzer problem for last 10mins
6083 | 25Mg(d,p) | 30 |  |  | 34keV | online analyzer problem for last 5mins
6084 | 25Mg(d,p) | 30 |  | NGR#3 | 33.2keV
6085 | 24Mg(d,p) | 35 |  | NGR#3 | 28.3keV
6086 | 12C(d,p) | 35 |  | NGR#3
6087 | 25Mg(d,p) | 35 |  | NGR#3 | 37.3keV
6088 | 24Mg(d,p) | 40 |  | NGR#3 | 28.7keV
6089 | 12C(d,p) | 40 |  |  |  | online analyzer stop working
6090 | 12C(d,p) | 40 |  | NGR#3
6091 | 25Mg(d,p) | 40 |  | NGR#3 |  | logbook上的图貌似是错的。应该是0deg的图
6092 | 25Mg(d,p) | 40 |  | NGR#3
try to get best resolution in dispersive matching @ 0.5deg
6093 | 12C(d,p) | 0.5 |  | NGR#3 | 22keV ？
want to compare the collected charge
6094 |  | SCFC |  | 13.3-14nA | D1FC | 5.7nA
6095 |  | SCFC |  | 13nA | D1FC
6096 |  | SCFC |  |  | D1FC | 5.7nA | 1-2mins run
6097 |  | SCFC |  |  | D1FC | 5.5nA
6098 |  | SCFC |  |  | D1FC | 5.5nA
6099 |  | SCFC |  | 11.4nA | D1FC |  | 1-2mins run
6100 |  | SCFC |  | 11.2nA | D1FC
6101 |  | SCFC |  | 11.9nA | D1FC
6102 |  | SCFC |  |  | D1FC | 5.6nA | 1-2mins run
6103 |  | SCFC |  |  | D1FC | 5.6nA
6104 |  | SCFC |  |  | D1FC | 5.6nA
6105 | 24Mg(d,p) | 0.5 |  | NGR#3
6106 | 25Mg(d,p) | 0.5 |  | NGR#3 | 23.4keV |  |  | disperive
6107 | 25Mg(d,p) | 0.5 |  | NGR#3