## 工作表1
6001 | 12C(d,p) | 10 | proton wite | white spectrum
6002 | 12C(d,d) | 10 | (d,d') | initial calibration |  | y=4.72*X+2162
6003 | Au(d,d) | 10 | (d,d') | Sieve Slit
6004 | 12C(d,p) | 10 | proton wite | Sieve Slit | Here I see the Modified by Tamii
6005 | 12C(d,p) | 10 | (d,d') | Sieve Slit | no Tamii
6006 | 12C(d,p) | 10 | (d,d') | Sieve Slit | no Tamii
6007 | 12C(d,p) | 10 |  | check beam resolution |  | same setting with 6004 |  | 13C(g.s.)38.2keV
6008 | faint beam | 0 |  | get dispersion matching |  |  |  | fb:7.5keV
6009 | 12C(d,p) | 0 |  | add the Al absorber and find the event from the target
6010 | blank | 0 | proton wite | check if the event in 6009 is from the target
6011 | 12C(d,p) | 0 | proton wite | change the GR FIELD and want to see 13C states(4MeV in center)
6012 | 12C(d,p) | 0.5 | proton wite | change the GR ANGLE to reduce the background that we saw in 6011 |  |  |  |  | main peak: 31keV (run6012_ex.hb)
6013 | 12C(d,p) | 0.3 | proton wite | change the GR ANGLE to reduce the background that we saw in 6011
6014 | 12C(d,p) | 0.5 | proton wite | change the GR FIELD to see 13C states |  |  |  | run6014_ex.hb
6015 | 12C(d,p) | 0.5 |  | change the GR FIELD to see 13C states
6016 | 12C(d,p) | 0.5 |  | change the GR FIELD to see 13C states |  |  | get the reference value |  | some state is in the center
CHANGE THE TARGET LADDER
6017 | 25Mg(d,p) | 0.5 |  | see nothing due to the VDC problem
6018 | 25Mg(d,p) | 0.5 |  | GR#3 | see peaks
6019 | 25Mg(d,p) | 0.5 |  | GR#1 | see peaks
6020 | 25Mg(d,p) | 0.5 | proton wite | GR#2 | see peaks
6021 | 25Mg(d,p) | 0.5 |  | GR#2 | see peaks
6022 | 25Mg(d,p) | 0.5 |  | GR#2 | trash | see nothing due to the VDC problem
6023 | 25Mg(d,p) | 0.5 |  | GR#3 | GR trigger changed a lot
SET NEW GR
6024 | 25Mg(d,p) | 0.5 |  | NGR#1 | see pg120 for the new GR settings
6025 | 25Mg(d,p) | 0.5 |  |  | trash | see nothing due to the VDC problem
6026 | 25Mg(d,p) | 0.5 |  | ---- | check the resolution |  | 36keV
6027 | 25Mg(d,p) | 0.5 |  | NGR#1 | resolution was improved for this run |  |  | 20.6keV for 12C(d,p)13C
6028 | 24Mg(d,p) | 0.5 |  | NGR#1
6029 | 12C(d,p) | 0.5 |  | NGR#2 | Resolution check???
6030 | MYLAR | 0.5 |  | NGR#2
6031 | 24Mg(d,p) | 0.5 |  | NGR#2
6032 | 25Mg(d,p) | 0.5 |  | NGR#2
6033 | 12C(d,p) | 0.5 |  | NGR#3 | Resolution check???
6034 | MYLAR | 0.5 |  | NGR#3
6035 | 24Mg(d,p) | 0.5 |  | NGR#3
6036 | 25Mg(d,p) | 0.5 |  | NGR#3
6037 | 25Mg(d,p) | 0.5 |  | NGR#3 | main peak: 34.77keV |  | notice if the calibration changed
After run6037 we need the change the GR ANGLE from 0.5 to 5. But Didn'tsecure the EXP HALL. After restore everything we check the resolution(13Cg.s. 35.7keV ) and compared with run6033(35.77keV).
6038 | 12C(d,p) | 5 |  | NGR#3 | Resolution check 35.764keV
6039 | MYLAR | 5 |  | NGR#3
6040 | 24Mg(d,p) | 5 |  | NGR#3 |  | 24keV
6041 | MYLAR | 5 |  | NGR#3 | start this run since 6039 has no enough counts |  |  | 41keV
6042 | 12C(d,p) | 5 |  | NGR#3
6043 | 25Mg(d,p) | 5 |  | NGR#3 | DAQ problem during this run
6044 | 25Mg(d,p) | 5 |  | NGR#3 | continue run for 6043
6045 | 24Mg(d,p) | 5 |  | NGR#3 | another run for 6040 to get more counts
6046 | 24Mg(d,p) | 10 |  |  | stop this run so as to define narrow gate
6047 | 24Mg(d,p) | 10 |  |  | stop this run to define PID gate
6048 | 24Mg(d,p) | 10 |  |  | 29.2keV | online analyzer might stop working. Checked by run 6053
6049 | MYLAR | 10 |  |  | radiation safety problem
6050 | 12C(d,p) | 10 |  |  | online analyzer problem
From 6051 the target was rotated
6051 | 12C(d,p) | 10 |  |  | check the target rotation effect |  | 40keV(44keV w/o rotation)
6052 | MYLAR | 10
6053 | 24Mg(d,p) | 10 |  |  | check this run with run6048 to see if they are look the same |  |  |  | 29keV
6054 | 25Mg(d,p) | 10
6055 | 25Mg(d,p) | 10 |  |  | 32keV
6056 | 24Mg(d,p) | 25 |  |  | 42 keV | should improve this resolution
setup changed: remove the Al absorber. GR ANGLE to 0.5deg. 25Mg(d,d) [achromatic, faint beam]]and compare it with p57(12C(d,d), achromatic resolution 22keV)
Improve the 25Mg(d,d) from 22keV to 16.2keV
6057 | 24Mg(d,p) | 0.5 |  | NGR#1 | 30keV
6058 | 24Mg(d,p) | 0.5 |  | NGR#2 | 31keV
6059 | 24Mg(d,p) | 0.5 |  | NGR#3 | 26keV
6060 | 25Mg(d,p) | 0.5 |  | NGR#3
6061 | 24Mg(d,p) | 25 |  | NGR#3 | 52keV | worse resolution in achromatic mode
Got worse resolution on achromactic mode. So we need to check the angle dependence in the following runs
6062 | 24Mg(d,p) | 25 |  | NGR#3 | 46keV | W/ 2mm slits
6063 | 24Mg(d,p) | 15 |  | NGR#3 | 39keV
go back the dispersive matching @15deg to get better resolution
resolution was improved from 39keV to 25keV
6064 | 24Mg(d,p) | 15 |  | NGR#3 | 25keV
6065 | 12C(d,p) | 15 |  | NGR#3 | 35.8keV
6066 | MYLAR | 15 |  | NGR#3 | 35.8keV
6067 | 25Mg(d,p) | 15 |  | NGR#3 | 30.6keV
6068 | 25Mg(d,p) | 15 |  | NGR#3 | 30.6keV | continue run
6069 | 24Mg(d,p) | 25 |  | NGR#3 | need to compare with run6056 which gave us 42keV
6070 | MYLAR | 25 |  | NGR#3 | calibration changed: 4.61keV/mm
6071 | 12C(d,p) | 25 |  | NGR#3
6072
6073 | 25Mg(d,p) | 25
6074 | 24Mg(d,p) | 20 |  |  | 27keV
6075 | 12C(d,p) | 20
6076 | 25Mg(d,p) | 20 |  |  | online analyzer problem
6077 | 25Mg(d,p) | 20 |  |  | online analyzer problem
6078 |  |  |  |  | online analyzer problem
6079 | 25Mg(d,p) | 20 |  |  | 30.2keV
improve the dispersive matching for 30deg
6080 | 24Mg(d,p) | 30 |  |  | 29.1keV
6081 | 12C(d,d) | 30 | proton wite |  | 46.8keV
6082 | 25Mg(d,p) | 30 |  |  |  | online analyzer problem for last 10mins
6083 | 25Mg(d,p) | 30 |  |  | 34keV | online analyzer problem for last 5mins
6084 | 25Mg(d,p) | 30 |  |  | 33.2keV
6085 | 24Mg(d,p) | 35 |  |  | 28.3keV
6086 | 12C(d,p) | 35
6087 | 25Mg(d,p) | 35 |  |  | 37.3keV
6088 | 24Mg(d,p) | 40 |  |  | 28.7keV
6089 | 12C(d,p) | 40 |  |  |  | online analyzer stop working
6090 | 12C(d,p) | 40
6091 | 25Mg(d,p) | 40 |  |  |  | logbook上的图貌似是错的。应该是0deg的图
6092 | 25Mg(d,p) | 40
try to get best resolution in dispersive matching @ 0.5deg
6093 | 12C(d,p) | 0.5 |  |  | 22keV ？
want to compare the collected charge
6094 |  | SCFC |  | 13.3-14nA | D1FC | 5.7nA
6095 |  | SCFC |  | 13nA | D1FC
6096 |  | SCFC |  |  | D1FC | 5.7nA | 1-2mins run
6097 |  | SCFC |  |  | D1FC | 5.5nA
6098 |  | SCFC |  |  | D1FC | 5.5nA
6099 |  | SCFC |  | 11.4nA | D1FC |  | 1-2mins run
6100 |  | SCFC |  | 11.2nA | D1FC
6101 |  | SCFC |  | 11.9nA | D1FC
6102 |  | SCFC |  |  | D1FC | 5.6nA | 1-2mins run
6103 |  | SCFC |  |  | D1FC | 5.6nA
6104 |  | SCFC |  |  | D1FC | 5.6nA
6105 | 24Mg(d,p) | 0.5
6106 | 25Mg(d,p) | 0.5 |  |  | 23.4keV
6107 | 25Mg(d,p) | 0.5